## Read this first
Company name: | Insert Company name
Electricity Compliance Manual Datasheet - Distribution Indicators 2012/13
IMPORTANT NOTICE FOR ELECTRICITY DISTRIBUTION LICENSEES
Licensees should refer to the Electricity Distribution Licence Performance Reporting Handbook for information on the definitions of electricity distribution indicators, listed in these datasheets.

## Network Quality & Reliability
Company name: |  | Horizon Power
Electricity Compliance Manual Datasheet - Distribution Indicators 2013/14
Network Reliability
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 1 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5) | The number of premises of small use customers to which the supply of electricity has been interrupted for more than 12 hours continuously |  |  | REFER TABLE 1
NQR 2 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(5) | The number of premises of small use customers to which the supply of electricity has been interrupted more than the permitted number of times, as is defined in section 12(1) {of the Code} |  |  | REFER TABLE 1
NQR 3 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(a) | For each discrete area, the average length of interruption of supply to customer premises expressed in minutes |  |  | 84.5
NQR 4 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(b) | For each discrete area, the average number of interruptions of supply to customer premises |  |  | 3.917
NQR 5 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(c) | For each discrete area, the average percentage of time that electricity has been supplied to customer premises |  |  | 98.9845
NQR 6 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(11)(d) | For each discrete area, the average total length of all interruptions of supply to customer premises expressed in minutes |  |  | 330.2086
Indicator No. | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 7 | SCONRRR | Overall SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 8 | SCONRRR | Distribution Network (Planned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 9 | SCONRRR | Distribution Network (Unplanned) SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 10 | SCONRRR | Normalised distribution network SAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 11 | SCONRRR | Overall SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 12 | SCONRRR | Distribution Network (Planned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 13 | SCONRRR | Distribution Network (Unplanned) SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 14 | SCONRRR | Normalised distribution network SAIFI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 15 | SCONRRR | Overall CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 16 | SCONRRR | Distribution Network (Planned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 17 | SCONRRR | Distribution Network (Unplanned) CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
NQR 18 | SCONRRR | Normalised distribution network CAIDI by Total Network, CBD, Urban, Short Rural and Long Rural |  |  | REFER TABLE 2
Complaints
Indicator No. | Reference | Description |  |  | Basis of Reporting |  |  | Comments
[5 empty] | Number | Percentage | Value ($)
NQR 19 | Electricity Industry (Network Quality and Reliability of Supply) Code Sch 1(6) | Total number of complaints received {that Part 2 or an instrument made under section 14(3) has not been, or is not being, complied with} |  |  | 31
NQR 20 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(7) | Total number of complaints received from customers in each of the discrete areas {that Part 2 or an instrument made under section 14(3) has not been, or is not being, complied with} |  |  | REFER TABLE 3
$ | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(8) | Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the Code} |  |  |  |  | 385313.42
NQR 22 | SCONRRR | Total number of technical QoS complaints |  |  | 31
NQR 23 | SCONRRR | Total number of technical QoS complaints that are low supply voltage complaints |  |  | 17
NQR 24 | SCONRRR | Percentage of technical QoS complaints that are low supply voltage complaints |  |  |  | 54.84%
NQR 25 | SCONRRR | Total number of technical QoS complaints that are voltage dip complaints
NQR 26 | SCONRRR | Percentage of technical QoS complaints that are voltage dip complaints |  |  |  | 0%
NQR 27 | SCONRRR | Total number of technical QoS complaints that are voltage swell complaints
NQR 28 | SCONRRR | Percentage of technical QoS complaints that are voltage swell complaints |  |  |  | 0%
NQR 29 | SCONRRR | Total number of technical QoS complaints that are voltage spike complaints
NQR 30 | SCONRRR | Percentage of technical QoS complaints that are voltage spike complaints |  |  |  | 0%
NQR 31 | SCONRRR | Total number of technical QoS complaints that are waveform distortion complaints
NQR 32 | SCONRRR | Percentage of technical QoS complaints that are waveform distortion complaints |  |  |  | 0%
NQR 33 | SCONRRR | Total number of technical QoS complaints that are TV or radio interference complaints
NQR 34 | SCONRRR | Percentage of technical QoS complaints that are TV or radio interference complaints |  |  |  | 0%
Complaints
Indicator No. | Reference | Description |  |  | Basis of Reporting |  |  | Comments
[5 empty] | Number | Percentage | Value ($)
NQR 35 | SCONRRR | Total number of technical QoS complaints that are noise from appliances complaints
NQR 36 | SCONRRR | Percentage of technical QoS complaints that are noise from appliances complaints |  |  |  | 0%
NQR 37 | SCONRRR | Total number of technical QoS complaints that are other complaints |  |  | 14 |  |  | Complaints of High Volts and Voltage Fluctuation included in this figure.
NQR 38 | SCONRRR | Percentage of technical QoS complaints that are other complaints |  |  |  | 45.16%
NQR 39 | SCONRRR | Breakdown of technical QoS complaints into the likely cause of problem that caused the complaint separated into:
|  | Network equipment faulty - Total Number |  |  | 19
|  | Network equipment faulty - Percentage |  |  |  | 61.29%
Network interference by NSP equipment - Total Number
|  | Network interference by NSP equipment - Percentage |  |  |  | 0%
Network interference by another customer - Total Number
|  | Network interference by another customer - Percentage |  |  |  | 0%
Network limitation - Total Number
|  | Network limitation - Percentage |  |  |  | 0%
Customer internal problem - Total Number
|  | Customer internal problem - Percentage |  |  |  | 0%
|  | No problem identified - Total Number |  |  | 1 |  |  | Unknown
|  | No problem identified - Percentage |  |  |  | 3.226%
|  | Environmental - Total Number |  |  | 9 |  |  | Birds & Lightning
|  | Environmental - Percentage |  |  |  | 29.03%
|  | Other - Total Number |  |  | 2 |  |  | Planned outage/disconnection
|  | Other - Percentage |  |  |  | 6.452%
Compensation Payments
Indicator No. | Reference | Description |  | Basis of Reporting |  |  | Comments
|  |  |  | Number | Percentage | Value ($)
NQR 40 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 18 {of the NQ&R Code} |  | 0 |  | 0 | Corrected from 10 and 200$ which was wrongly reported to the ERA.
NQR 41 | Electricity Industry (Network Quality and Reliability of Supply) Code clause Sch 1(9) | The number of payments made, and the total amount paid under section 19 {of the NQ&R Code} |  | 89 |  | 7120 | Most due to Cyclone Christine
Network and Asset Information
Indicator No | Reference | Description |  |  | Basis of Reporting |  | Comments
[5 empty] | Number | Percentage
NQR 42 | SCONRRR | Number of metered supply points by feeder category (CBD, urban, short rural and long rural), broken up into residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4A
NQR 43 | SCONRRR | Number of unmetered supply points, by type of feeder (CBD, urban, long rural and short rural) |  |  | REFER TABLE 4B
NQR 44 | SCONRRR | Energy delivered (GWh) by type of feeder (CBD, urban, long rural and short rural) broken up into residential and non-residential customers and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 4C
NQR 45 | SCONRRR | Line lengths by type of feeder (CBD, urban, long rural and short rural) broken up into underground and overhead line categories and sub-transmission, high voltage and low voltage |  |  | REFER TABLE 5A
NQR 46 | SCONRRR | Number and total capacity of transformers, separated into sub-transmission and distribution |  |  | REFER TABLE 5B
NQR 47 | SCONRRR | Total distribution losses (%) |  |  |  | N/A
NQR 48 | SCONRRR | Size of network service area (sq km) |  |  | N/A
NQR 49 | SCONRRR | Number of poles |  |  | 58334
NQR 50 | SCONRRR | Peak demand (MW) |  |  | N/A
NQ&R Code Reliability Indicators
Table 1
Description |  | Discrete Area |  | Total Network | Perth CBD and the urban areas combined | Other areas of the State | Comments
Interruptions for more than 12 hours continuously (section 5(a) NQ&R Code) |  | Number of premises interrupted |  | 3785 |  |  | 3494 out of 3785 due to cyclone Christine
|  | Number of interruptions |  | 162
Interruptions for more than 12 hours continuously (section 5(a) NQ&R Code) |  | Premises interrupted more than 9 times in a year |  |  | N/A
|  | Premises interrupted more than 16 times in a year |  |  |  | 1263 | Significant System Improvements in Wyndham and Onslow due to the automation strategies of the Horizon Power's Power Stations.
SCONRRR Reliability Indicators
Table 2
Description |  | Discrete Area | Total Network | CBD | Urban | Short Rural | Long Rural | Comments
SAIDI |  | Overall | 349.5063 |  | 509.678 | 289.6371 | 819.0554
|  | Distribution Network (Planned) | 46.853 |  | 43.3794 | 35.1492 | 258.6886
|  | Distribution Network (Unplanned) | 302.6533 |  | 466.2987 | 254.4878 | 560.3668
|  | Normalised Distribution Network | 158.4194 |  | 82.828 | 151.2239 | 542.1548
SAIFI |  | Overall | 3.9914 |  | 3.3915 | 3.9329 | 7.0606
|  | Distribution Network (Planned) | 0.35264 |  | 0.23778 | 0.28811 | 1.8508
|  | Distribution Network (Unplanned) | 3.6388 |  | 3.1537 | 3.6448 | 5.2098
|  | Normalised Distribution Network | 3.3352 |  | 2.3988 | 3.4193 | 5.1312
CAIDI |  | Overall | 87.5646 |  | 150.2805 | 73.6444 | 116.0044
|  | Distribution Network (Planned) | 132.8648 |  | 182.4328 | 121.9984 | 139.7722
|  | Distribution Network (Unplanned) | 83.1745 |  | 147.8563 | 69.8221 | 107.5609
|  | Normalised Distribution Network | 47.4992 |  | 34.5293 | 44.2268 | 105.658
Quality and Reliability Complaints (NQ&R Code)
Table 3
Discrete Area |  | Number of Complaints Received | Comments
Perth CBD |  | N/A
Urban areas other than the Perth CBD |  | N/A
All other areas of the State |  | 31
Network & Asset Information
Table 4a
Number of Metered Supply Points |  | Total No. | By type of customer |  | By supply voltage |  |  | Comments
Feeder Category |  |  | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 6573 | N/A | N/A | N/A | N/A | N/A | Refer Note 1 below
Rural Short |  | 37826 | N/A | N/A | N/A | N/A | N/A | Refer Note 1 below
Rural Long |  | 2109 | N/A | N/A | N/A | N/A | N/A
Note 1 : A significant number of customers moved from the urban feeder category to the short rural category due to the undergrounding in the Pilbara. Several customers have been progressively transferred to the new
feeders which met the criteria for short rural feeder due to the maximum demand profile during the reporting period. This category is likely to change as more customers are added to new feeders in the next reporting period.
Table 4b
Number of Un-metered Supply Points | [5 empty] | Comments
|  | CBD | Urban | Rural Short | Rural Long
Total No. |  | N/A | 30 | 262 | 29 | Number provided is year end value
Table 4c
Energy delivered (GWh) |  | By type of customer |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total GWh | Residential | Non-residential | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | N/A | N/A | N/A | N/A | N/A | N/A
Rural Short |  | N/A | N/A | N/A | N/A | N/A | N/A
Rural Long |  | N/A | N/A | N/A | N/A | N/A | N/A
SCONRRR Business Descriptors
Table 5a
Line length (km) |  |  |  |  | By supply voltage |  |  | Comments
Feeder Category |  | Total km | Underground | Overhead | ST | HV | LV
CBD |  | N/A | N/A | N/A | N/A | N/A | N/A
Urban |  | 360.5 | 323.88 | 36.6 | N/A | 135.61 | 224.9
Rural Short |  | 3694.3 | 1596.91 | 2097.42 | N/A | 2143.11 | 1551.22
Rural Long |  | 3266.1 | 48.71 | 3217.34 | N/A | 3212.71 | 53.35
Table 5b
Transfomer Type |  | Number of Transformers | Total capacity of Transformers (MVA) |  | Comments
Sub-transmission |  | N/A | N/A |  | N/A
Distribution |  | 4380 | 701